Wallace Community Services District

P. O. Box 398, Wallace, Ca 95254  -  209 763-2882

100 Wallace Lake Drive South

Friday, August 27, 2010

Emergency Meeting of the Board of Directors

8:45 AM

Minutes

CALL TO ORDER AND ROLL CALL

President Patsy Bailey called the meeting to order at 8:45 AM. Directors present were Patsy Bailey, Larry Howen, Cathryn Jackson, and Jerry Zedlitz. Director Reyner was absent. Also present was General Manager Bill Perley.

New Business

1.   Emergency authorization of expenditures.

General Manager started the conversation by stating the District needs two new pumps for the Water Treatment Plant. Two of the three pumps are not pumping at capacity.

The two new pumps will cost $5400.00 and will take about four weeks to deliver. Mr. Perley stated that the back-up plan should the best pump fail. If that should happen the District would need to go to water conservation for a day or two and the pump could be rebuilt on a 24 hour turnaround.

Director Zedlitz made a motion to approve the $5400.00 expenditure to purchase the new pumps. Director Howen seconded the motion.

Approved 4-0-0-1

Mr. Perley then discussed the Wastewater Treatment Plant. He said the Backwash is being done manually and Cooper Controls will be called to work on the PLC in order to give the District time to save the money that will be needed to replace the PLC.

Mr. Perley also stated that there is a problem with the flow meter and CCWD is working to correct the improper installation.

2.   Adjournment

The next Regular meeting will be September 16, 2010.

FINAL MINUTES

Respectfully Submitted

Jackie Neill

Acting Recording Secretary

Patsy Bailey, WCSD President